# Standard Chemicals in the Cleanroom

# General chemicals

The following chemicals are available in every laboratory in the cleanroom:

- Aceton

- Isopropanol (IPA, 2-propanol)

- Ethanol 96%

- Ethanol absolute

Aceton and IPA are available in small squirt bottles in almost every fumehood. These are intended for cleaning, and the bottles may be refilled from larger storage bottles present in the nearest chemicals cupboard.

Ethanol must be requisitioned and signed for separately, due to the possibility of misuse. Requisition form is available on request from the Chemicals Responsible person.

The following chemicals may be available in certain laboratories on a case-by-case basis. Should you need them, contact the Chemicals Responsible person.

- Ammonia (ammonium hydroxide)

- Hydrochloric acid

- Nitric acid

- Potassium hydroxide

- Sulphuric acid

# Lithochem laboratories

In addition to those listed above, the following chemicals are available in the lithography and wet chemistry laboratories:

## Lithography:

- Ethyl methyl ketone (butanone, MEK)

- Isobutyl methyl ketone (4-metyl-2-pentanone)

- AZ EBR (solvent)

- AZ 9260 (photoresist)

- S1813 (photoresist)

- SU-8 (photoresist)

- AZ 326 MIF (developer)

- AZ 400 K (developer)

- MP 351 (developer)

## Wetlab

- Acetic acid

- Buffered oxide etch (BOE)

- Hydrofluoric acid

- Hydrogen peroxide

- Phosphoric acid

# In conclusion:

These chemicals listed above are made available as part of the facilities in the cleanroom. Should you require anything not listed above, contact the Chemicals Responsible person.